2025 Annual Drinking Water Quality Report

Big Creek Water System (0420009)

April 2026

We’re pleased to present to you this year’s Annual Water Quality Report. This report is designed to inform you about the quality water and services we deliver to you every day.  Our constant goal is to provide you with a safe and dependable supply of drinking water.   Our water source is purchased from Anderson Regional Joint Water System (ARJWS) and the Greenville Water System.  The ARJWS is supplied by surface water from the U.S. Army Corps of Engineer’s Hartwell Lake Reservoir lying along the border of Upstate South Carolina and Georgia.  The Greenville Water System, which is a combination of water from the Table Rock Reservoir treated at the Table Rock and North Saluda Filter Plant (DAF), and Lake Keowee treated at the Witty Adkins Water Treatment Plant.  If you have any questions about this report or concerning your water utility, please contact Matt Ruff at Big Creek Water (864) 847-4957.

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections.  These people should seek advice about drinking water from their health care providers.  Infants and young children are typically more vulnerable to lead in drinking water than the general population.   If you are concerned about elevated lead levels in your home’s water, you should flush your tap for 30 seconds to 2 minutes before using tap water.  Additional information is available from the Safe Drinking Water Hotline (800-426-4791).

Lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. Big Creek Water District is responsible for providing high quality drinking water and removing lead pipes but cannot control the variety of materials used in plumbing components in your home. You share the responsibility for protecting yourself and your family from the lead in your home plumbing. You can take responsibility by identifying and removing lead materials within your home plumbing and taking steps to reduce your family's risk. Before drinking tap water, flush your pipes for several minutes by running your tap, taking a shower, doing laundry or a load of dishes. You can also use a filter certified by an American National Standards Institute accredited certifier to reduce lead in drinking water. If you are concerned about lead in your water and wish to have your water tested, contact Big Creek Water District @ 864-847-4957. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available at http://www.epa.gov/safewater/lead

We are pleased to report that our drinking water is safe and meets all federal and state requirements.

Please find below some definition of terms and abbreviations to help you understand the report.

# Water Quality Test Results Definitions

- ppm: Milligrams per liter or parts per million corresponds to 1 ounce in 7,350 gallons of water.

- ppb: Micrograms per liter or one part per billion corresponds to 1 ounce in 7,350,000 gallons of water.

- Action Level (AL): the concentration of a contaminant, which, if exceeded, triggers treatment or other requirements that a water system must follow.

-Action Level Goal (ALG): The level of a contaminate in drinking water below which there is no known or expected risk to health. ALG’s allow for a margin of safety.

- Maximum Contaminant Level or MCL: The “Maximum Allowed” is the highest level of contaminant that is allowed in drinking water.  MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

- Maximum Contaminant Level Goal or MCLG: The “Goal” is the level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.

-Maximum Residual Disinfectant Level Goal or MRDLG: The level of drinking water disinfectant below which there is no known or expected risk to health. MRDLG’S do not reflect the benefits of the use of disinfectants to control microbial contaminants.

- Maximum residual disinfectant level or MRDL: The highest level of disinfectant allowed in drinking water.  There is convincing evidence that addition of disinfectant is necessary for control of microbial contaminates.

-N/A: not applicable

-Average (Avg): -- Regulatory compliance with some MCL’s are based on running annual average of monthly samples.

-Running Annual Average or RAA – the average of 4 consecutive samples over a period of a year

-Definitions: The following tables contain scientific terms and measures, some of which may require explanation

# Lead and Copper Rule

- 	Big Creek Water District service line inventory showed no lead or galvanized requiring replacement

2025 Regulated Contaminants Detected

Coliform Bacteria

| Maximum Contaminant Level Goal | Total Coliform Maximum Contaminant Level | Highest Number of Positive | Fecal Coliform of E Coli Maximum Contaminant Level | Total Number of Positive E Coli or Fecal Coliform Samples | Violation | Likely Source of Contamination |
| --- | --- | --- | --- | --- | --- | --- |
| 0 | 1 Positive monthly sample | 1 |  | 0 | N | Naturally present in the environment |

# SC 0420009    Big Creek Water District

| Lead / Copper | MCLG | Action Level | 90th Percentile | Number site over AL | Unit of Measure | Violation Y/N | Likely Source of Contamination | Min of Result | Max of Result |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Lead (2023) | 0 | 0 | 0. | 0 | ppm | N | Corrosion of household plumbing, Erosion of natural deposits | 0 | 2 |
| Copper (2023) | 1.3 | 1.3 | 0.087 | 0 | Ppm | N | Corrosion of household plumbing. Leaching from wood preservatives. Erosion of natural deposits. | 0 | 0.219 |
| Disinfectants and Disinfection By-Products | Highest Detected Level | Range of Detection | MCLG | MCL | Unit of Measure | Violation Y/N | Likely Source of Contamination |  |  |
| Chlorine (2025) | 1.0 | .90-1.0 | MRDLG 4 | MRDL 4 | ppm | N | Water additive used to control microbes |  |  |
| (HAA5) Halo acetic Acids (2025) | 22 RAA | OE-9 34.75700 | N/A | 60 | ppb | N | By-product of drinking water disinfection |  |  |
| (TTHM) Total Trihalomethanes (2025) | 49 RAA | 10.4288-75.362700 | N/A | 80 | ppb | N | By-product of drinking water disinfection |  |  |

Not all sample results may have been used for calculating the Highest Level Detected because some results may be part of an evaluation to determine where compliance sampling should occur in the future.

# Additional Monitoring

Unregulated contaminants are those that don’t yet have a drinking water standard set by USEPA. The purpose of monitoring for these contaminants is to help USEPA decide whether the contaminants should have a standard.

# UCMR 5 	 	Big Creek Water District Test Result’s 2025

| Contaminants from UCMR5 SAMPLED 2025 | Sample Date | Highest level detected | Average | Range of levels detected |
| --- | --- | --- | --- | --- |
| PFBS | 1/25 | 00.40 | 2 | 0-4 PPB |
| PFBS | 4/25 | 00.37 | N/A | N/A |
| PFBS | 7/25 | .0040 | N/A | N/A |
| PFBS | 10/25 | .0039 | N/A | N/A |

# SC 0420011    Anderson Regional Joint Water System

| Inorganic Contaminates | Results | Range of Detection | MCLG | MCL | Unit of Measure | Violation Y/N | Possible Source |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Fluoride (2025) | .47 | 0.47-0.47 (one sample collected) | 4 | 4 | ppm | N | Erosion of natural deposits. Water additive which promotes strong teeth. Discharge from fertilizer and aluminum factories. |
| Nitrate (2025) | .18 | .18-.18 | 10 | 10 | ppm | N | Runoff from fertilizer use. Leaching from septic tanks, sewage. Erosion of natural deposits. |

| Turbidity (2025) | .05 | 0.05-0.05 | N/A | 1 | NTU | N | Soil runoff |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Sodium (2025) | 6.4 mg/l | 6.4 – 6.4 (one sample collected) | N/A | N/A | Mg/l |  |  |

Not all sample results may have been used for calculating the Highest Level Detected because some results may be part of an evaluation to determine where compliance sampling should occur in the future.

# Greenville Water System

| Inorganic Contaminates | Highest Detected Level | Range of Detection | MCLG | Highest Level Allowed | Unit of Measure | Violation Y/N | Possible Source |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Nitrate/Nitrite measured as nitrogen (2025) Stovall Plant Adkins Plant Distribution system average. | .026 .039 0.13 | N/A N/A ND-.84 | 10 | 10 | ppm | N N N | Erosion of natural deposits. Water additive which promotes strong teeth. Discharge from fertilizer and aluminum factories. |
| Sodium (2025) Stovall Plant Adkins Plant | 6.3 6.3 | NA NA | No mcl No mcl | No mcl No mcl | ppm | N N | Erosion of natural deposit |

| Turbidity | 95% of Samples | 100% of Plant Samples are Below MCL | Unit of Measure | Violation Y/N | Possible Source |
| --- | --- | --- | --- | --- | --- |
| Stovall Plant Adkins Plant | <0.3 <0.3 | Max = 0.07; Avg = 0.04 Max = 0.07; Avg =0.05 | NTU NTU | N N | Soil runoff |
| Distribution System | N/A | Average = 0.19 | NTU | N/A |  |

- Turbidity is a measure of water clarity and is a good indicator that the treatment process is removing tiny particles.

As you can see by the table, our system had no violations. We’re proud that your drinking water meets or exceeds all Federal and State requirements. We have learned through our monitoring and testing that some constituents have been detected. The EPA has determined that your water IS SAFE at these levels.

Source Water Assessment and Protection Plans (SWAP) are scheduled to be completed for all public water systems in South Carolina by May 2003.  SWAPs, among other things, identify potential sources of contamination to drinking water supplies. The plan for this water system is complete and you can obtain a copy of it at:  http://www.scdhec.gov/environment/water/srcewtrreports.htm